## Sheet1
| A-Openings | A-Ceiling Suspended | I-Openings | I-Ceiling Suspended | S-Foundations | S-Beams | S-Columns | S-Walls, Stairs and Slabs | P-Gravity Pipes | H-Large Ducts | F-Main Fire Pipes | E-Cable Trays and Conduits | T-Cable Trays and Conduits | H-Air Terminals | F-Sprinklers | E-Lighting and Devices | T-Ceiling Devices | H-Small Ducts | F-Small Fire Pipes | P-Pressurized Pipes | H-Pipes | A-Furniture | I-Furniture | A-Walls | I-Walls | H-Equipment | P-Equipment | F-Equipment | E-Equipment | T-Equipment | H-Accessories | P-Accessories | F-Accessories | E-Fixtures | T-Fixtures | L-Landscape | A-Finishes | I-Finishes | C-Wet Utilities | E-Dry Utilities | E-External Lighting | R-Roads
A-Openings | A1-AH
A-Ceiling Suspended | A1-AH | A1-AH
I-Openings |  |  | A1-IH
I-Ceiling Suspended |  |  | A1-IH | A1-IH
S-Foundations |  |  |  |  | C2-SH
S-Beams | A2-SH | A2-SH | A2-SH | A2-SH | C2-SH | C2-SH
S-Columns | A2-SH | A2-SH | A2-SH | A2-SH | C2-SH | C2-SH | C2-SH
S-Walls, Stairs and Slabs | A2-SH | A2-SH | A2-SH | A2-SH | C2-SH | C2-SH | C2-SH | C2-SH
P-Gravity Pipes | A3-PH | A3-PH | A3-PH | A3-PH | A3-PH | A3-PH | A3-PH | A3-PH | A3-PH
H-Large Ducts | A4-HH | A4-HH | A4-HH | A4-HH | A4-HH | A4-HH | A4-HH | A4-HH | A4-HH | A4-HH
F-Main Fire Pipes | A5-FH | A5-FH | A5-FH | A5-FH | A5-FH | A5-FH | A5-FH | A5-FH | A5-FH | A5-FH | A5-FH
E-Cable Trays and Conduits | A6-EH | A6-EH | A6-EH | A6-EH | A6-EH | A6-EH | A6-EH | A6-EH | A6-EH | A6-EH | A6-EH | A6-EH
T-Cable Trays and Conduits | A6-TH | A6-TH | A6-TH | A6-TH | A6-TH | A6-TH | A6-TH | A6-TH | A6-TH | A6-TH | A6-TH | A6-TH | A6-TH
H-Air Terminals | [5 empty] | B1-HH | B1-HH | B1-HH | B1-HH | B1-HH | B1-HH | B1-HH | B1-HH | B1-HH
F-Sprinklers | [5 empty] | B1-FH | B1-FH | B1-FH | B1-FH | B1-FH | B1-FH | B1-FH | B1-FH | B1-FH | B1-FH
E-Lighting and Devices | [5 empty] | B1-EH | B1-EH | B1-EH | B1-EH | B1-EH | B1-EH | B1-EH | B1-EH | B1-EH | B1-EH | B1-EH
T-Ceiling Devices | [5 empty] | B1-TH | B1-TH | B1-TH | B1-TH | B1-TH | B1-TH | B1-TH | B1-TH | B1-TH | B1-TH | B1-TH | B1-TH
H-Small Ducts | B2-HH | B2-HH | B2-HH | B2-HH |  | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH
F-Small Fire Pipes | B2-FH | B2-FH | B2-FH | B2-FH |  | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH
P-Pressurized Pipes | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH
H-Pipes | B2-HH | B2-HH | B2-HH | B2-HH |  | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH
A-Furniture | B2-AH | B2-AH |  |  |  | B2-AH | B2-AH | B2-AH | B2-PH | B2-HH | B2-FH | B2-EH | B2-TH | B2-HH | B2-FH | B2-EH | B2-TH | B2-HH | B2-FH | B2-PH | B2-HH | B2-AH
I-Furniture |  |  | B2-IH | B2-IH |  | B2-IH | B2-IH | B2-IH | B2-PH | B2-HH | B2-FH | B2-EH | B2-TH | B2-HH | B2-FH | B2-EH | B2-TH | B2-HH | B2-FH | B2-PH | B2-HH |  | B2-IH
A-Walls |  | B2-AH |  | B2-IH | B2-AH | B2-AH | B2-AH | B2-AH | C1-AH | B2-AH | C1-AH | C1-AH | C1-AH | B2-HH | B2-FH | B2-EH | B2-TH | C1-AH | C1-AH | C1-AH | C1-AH | B2-AH |  | B2-AH
I-Walls |  |  |  | B2-IH |  | B2-IH | B2-IH | B2-IH | C1-IH | B2-AH | C1-IH | C1-IH | C1-IH | B2-HH | B2-FH | B2-EH | B2-TH | C1-IH | C1-IH | C1-IH | C1-IH |  | B2-IH |  | B2-IH
H-Equipment | B2-HH | B2-HH | B2-HH | B2-HH |  | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH
P-Equipment | B2-PH | B2-PH | B2-PH | B2-PH |  | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH
F-Equipment | B2-FH | B2-FH | B2-FH | B2-FH |  | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH
E-Equipment | B2-EH | B2-EH | B2-EH | B2-EH |  | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH
T-Equipment | B2-TH | B2-TH | B2-TH | B2-TH |  | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH
H-Accessories | B2-HH | B2-HH | B2-HH | B2-HH |  | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH | B2-HH
P-Accessories | B2-PH | B2-PH | B2-PH | B2-PH |  | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH | B2-PH
F-Accessories | B2-FH | B2-FH | B2-FH | B2-FH |  | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH | B2-FH
E-Fixtures | B2-EH | B2-EH | B2-EH | B2-EH |  | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH | B2-EH
T-Fixtures | B2-TH | B2-TH | B2-TH | B2-TH |  | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH | B2-TH
L-Landscape |  |  |  |  | B2-LH | B2-LH | B2-LH | B2-LH | B2-LH |  | B2-LH | B2-LH | B2-LH |  |  | B2-LH |  |  | B2-LH | B2-LH |  |  |  | B2-LH |  | B2-LH | B2-LH | B2-LH | B2-LH | B2-LH | [5 empty] | B2-LH
A-Finishes | C2-AH | C2-AH | C2-AH | C2-AH |  | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH | C2-AH
I-Finishes | C2-IH | C2-IH | C2-IH | C2-IH |  | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH | C2-IH |  | C2-IH
C-Wet Utilities |  |  |  |  | A1-CH | A1-CH | A1-CH | A1-CH | A1-CH | [26 empty] | B1-CH |  |  | A2-CH
E-Dry Utilities |  |  |  |  | A1-EH | A1-EH | A1-EH | A1-EH | A1-EH | [26 empty] | B1-EH |  |  | A2-EH | A2-EH
E-External Lighting |  |  |  |  | A1-EH |  | A1-EH | A1-EH | [27 empty] | B1-EH |  |  |  |  | B1-EH
R-Roads |  |  |  |  | A1-RH |  | A1-RH | A1-RH | [27 empty] | B1-LH |  |  |  |  | B1-EH | B1-RH